| Design History File | Project xxx |
| --- | --- |
| # | Design Control Deliverables | Draft | Plan | Report |
| 1 | Design and Development Plan |  |  | n/a |
| 2 | Regulatory Pathway / Classification |  |  | n/a |
| 3 | List of applied standards and Guidance |  |  | n/a |
| 4 | Design Input |  |  | n/a |
| 5 | Design Input Review Report |  | n/a |  |
| 6 | Design Output Documents |  | n/a |  |
| 7 | Design Verification Plan/Report |  |  |  |
| 8 | Design Verification Protocols/Reports |  |  |  |
| 9 | Biocompatibility Testing |  |  |  |
| 10 | Packaging, Transport and labelling |  |  |  |
| 11 | Sterilisation Validation |  |  |  |
| 12 | Shelf-Life Testing Plan/Report |  |  |  |
| 13 | Design and Process Freeze Review Report |  |  |  |
| 14 | Design Validation Plan/Report |  |  |  |
| 15 | Design Validation Protocols/Reports |  |  |  |
| 16 | Clinical Evidence |  |  |  |
| 17 | Design Transfer |  |  |  |
| 18 | Risk Management & Usability File |  |  | n/a |
| 19 | Final Design Review Report |  | n/a |  |
| 20 | Logbook of Changes |  |  |  |

| Approval | name / date / signature |
| --- | --- |