| Approvals | Name / Date / Signature |
| --- | --- |
|  | Risk Management Owner |
|  | R&D |
|  | QA/RA |
|  | Manufacturing |
|  | Medical |
|  | Sales / Marketing |

| Type of Risk Analysis | Hazard Analysis |
| --- | --- |
|  | System Level |
|  | Product Level |
|  | Process Level |

| Referenced Documents | Document number /version / Title |
| --- | --- |
|  | Risk Management Plan |
|  | Evaluation of PMS data |

| Intended Use | Describe the intended use of the system/product/process |
| --- | --- |

| Approach and Risk Acceptability criteria | This risk analysis was generated in accordance to SOP Risk Management. Roles, responsibilities, approval requirements are given in SOP Risk Management. A 2-dimensional risk evaluation approach was chosen as per SOP Risk Management, using Severity ratings (S) as per table 1 of SOP Risk Management Occurrence ratings (O) as per as per table 2 of SOP Risk Management Risk Acceptability criteria are given in table 3 of SOP Risk Management. |
| --- | --- |

Risk Analysis, Control and Evaluation

System level:

| Potential Harms | Potential Causes (Hazardous Situations) | System Elements | Cause of Failure | Risk Control Measures | Severity (S) | Occurrence (O) | Risk Evaluation | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Hardware | Software | Disposable 1 | Disposable 2 | Disposable 3 | Disposable 4 | Accessory 1 | Accessory 2 |  |  |  |  |  |  |
|  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |

Legend:

“X” in the table below means that the potential cause of failure could be caused by the element checked.

Note: Instead of listing systems elements horizontally, one could also list them vertically as first column in the table. Additional columns may be added, if required.

Product level:

| Potential Harms | Potential Causes (Hazardous Situations) | Product components | Cause of Failure | Risk Control Measures | Severity (S) | Occurrence (O) | Risk Evaluation | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Housing 1 | Housing 2 | Inlets | Outlets | Inlays | xxx | xxx | xxx |  |  |  |  |  |  |
|  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |

Legend:

“X” in the table below means that the potential cause of failure could be caused by the components checked.

Note: Instead of listing product components horizontally, one could also list them vertically as first column in the table. Additional columns may be added, if required.

Process level:

| Potential Harms | Potential Causes (Hazardous Situations) | Process steps | Cause of Failure | Risk Control Measures | Severity (S) | Occurrence (O) | Risk Evaluation | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Moulding | Welding | Cutting | Leak test | Sterile packaging | Final packaging | Transport | Sterilization |  |  |  |  |  |  |
|  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |

Legend:

“X” in the table below means that the potential cause of failure could be caused by the process steps checked.

Note: Instead of listing process steps horizontally, one could also list them vertically as first column in the table. Additional columns may be added, if required.

| List of Risk Control Measures |
| --- |
| Number | Risk Control Measure | Reference | Note |

| Risks arising from Risk Control Measures | None of the risk control measures above generated an additional potential hazard. The following risk control measures stated above have generated additional potential hazards: |
| --- | --- |

| Conclusion | It is confirmed that there are no unacceptable risks and any risk in the ALARP region is reduced to a risk level that is as low as reasonably practicable. The residual risks are acceptable. Or There is/are risk(s) in the unacceptable regions and further risk control measure is required. |
| --- | --- |